**

**Medtronic Enlite Competency**

1) Demonstrate accurate technique loading the sensor into the serter

2) Demonstrate accurate technique detaching the serter from the pedestal

3) Demonstrate accurate technique inserting sensor into artificial skin, including waiting for 5 seconds before removing serter to allow adhesive to adhere to skin

4) Demonstrate accurate technique removing needle housing/safety

5) Demonstrate accurate technique adhering sensor to skin surface by removing bottom paper

6) Demonstrate accurate technique in attaching transmitter to sensor

7) Demonstrate accurate technique covering minilink transmitter with sensor adhesive tab

Nurse trainee \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Date \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

I attest that the above trainee has demonstrated competence in all above components and is able to care for HALF-PINT subjects

Staff assessing to competency of trainee \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_