**

**Nova StatStrip Competency**

1) Turn the meter on/wake up the meter

2) Enter assigned operator ID via keypad or barcode

3) Enter or scan test strip lot number

4) Scan subject’s ID number via barcode scan

5) Place test strip correctly into meter

6) Place simulated blood sample correctly on test strip; test strip must fill completely

7) View result on screen and “Accept” or “Reject”; remove and dispose of test strip

8) Perform QC testing accurately

9) Recall and review on-board test data

10) Dock meter in docking station to upload stored data/download setup information

11) Replace the battery

12) Clean the meter

Nurse trainee \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Date \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

I attest that the above trainee has demonstrated competence in all above components and is able to care for HALF-PINT subjects

Staff assessing to competency of trainee \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_