**

**Paradigm Veo Monitor Post-Test**

1) To clear any monitor alarms, I press:

( ) ESC then ACT

( ) ACT then ESC

2) The Paradigm Veo monitor will prompt me to enter a meter BG (blood glucose):

( ) After the required 2 hour “warm up” following the insertion of a sensor

( ) Periodically when it is time to enter “METER BG NOW”

( ) Both

3) If the monitor indicates “LOST SENSOR”, what initial trouble-shooting actions can I take?

( ) Ensure that the minilink transmitter and sensor are connected

( ) Reposition the monitor closer to the transmitter

( ) Both

Nurse trainee \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Date \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Study staff assessing this nurse has passed post-test \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_