**

**Edwards VAMP Jr. Post-Test**

1) While priming the VAMP Jr. system:

a) I keep the shut off valve in the open position and hold the sampling site below the VAMP Jr. reservoir at a 45 degree angle

b) I keep the shut off valve in the closed position and hold the sampling site above the VAMP Jr. reservoir at a 90 degree angle

c) I keep the shut off valve in the open position and hold the sampling site above the VAMP Jr. reservoir at a 45 degree angle

2) When drawing a sample from the VAMP Jr., I first attach the cannula to the sample site, then attach the syringe to the cannula

( ) Yes

( ) No

3) When removing the syringe from the sample site, I pull straight out, holding the cannula

( ) Yes

( ) No

Nurse trainee \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Date \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Study staff assessing this nurse has passed post-test \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_